| COOLER ERROR CODES |  |
| --- | --- |
| Error 30 FAN_LIMP | No fan speed signal detected. Motor will run at full speed |
| Error 40 Lo Water Fail | Cannot detect low water sensor. |
| Error 50 Hi_Lo Fail | Cannot detect high or low water sensor. |
| Error 41 Hi Water Fail | Cannot detect High water sensor. |
| Error 42 Drain_fail | Servo seal closed but water detected in tank |
| Error 60 MOTOR_O-C | Motor failure |